- **Update for April 2025**

**Landfill**

* **Will start separating asphalt as it dries up**

**Water plant & Distribution system**

* Procedure needs to be established on priority of distributed water
* Met with samson on April 23, myself and rod, discussed the proposed design they came up with and told them we want a conventional pressurized system etc.
* Relaced failed ups on ro unit
* Cleaning uf and ro as required, will be starting blend the week of the 12th
* RJ electric sourcing a spare vfd for uf skid also, long wait time for new one
* Pump house ready for spring /summer operations
* Park meter installed and we assisted bringing water throughout park and repairing any issues we found, all good
* Crescent drive sewer issue (Muhammod) contacted action and will piggy back on another call to get a more accurate idea where issue is.

RedThorpe doubled there consumption in the last week (spraying)?

* Nelson Motors dig was a challenge but 2” line is capped and cribbing filled back in
* Truck fill backflow repaired on may 1st

-Should we be thinking of taking ro off for summer months because of the demand placed on the plant, avoid a boil water again.

-Another lake line water break, repair completed and pipe condition checked (seems pretty clean)

**Equipment and Tools** -Mowers out of cold storage , serviced and ready to go

STREETS – PAVING- Aws here and quote given

-Gravel was spread on nelson drive

**Town buildings-** inspecting and repairs as required

**Lagoon/sewer-** Manhole inspection done, issue on 3rd and Armstrong.

**Grass / Tr**ees –

**NEW /OLD BUSINESS –**

**- Training-account set up for our training?**

**-look at redthorpe contract, cistern compliance on redthorpe line**

**-Making a procedure for water restriction guidelines- Cistern levels at 3.5 will trigger a warning, cistern level of 3.0 will trigger water restrictions and possible outages, We need a firm guide for restrictions and possible service interruptions. This is required for possible water shortages and to maintain a proper level for service and fire fighting capabilities.**

**-Railway crossing ?**